## BE Setting up list Y7 & Y8 2023
|  | Basic Y7/Y8 setting up list - 25 students working in pairs. Prices are correct 01/09/2023. A formal quote can be provided if requested. |  | Compiled by Better Equipped Ltd, with grateful help and advice from - Amanda Davis, Senior Science Technician, The Jo Richardson Community School, RM and Raxa Popat, Education Scientist, Lady Margaret Girls School, SW6 4UN
Area of use Prep or Lab | Description | Product Number | Pack Size | Quantity | Unit Price | Total Price
P | Blue lab paper - rolls | 91814 | 12 | 1 | 47 | 47
P | Balance - Ohaus Scout SKX 620g x 0.01g | 2395 | 1 | 1 | 196.48 | 196.48
L | Balance - BE 750g x 0.1g | 98924 | 2 | 1 | 72 | 72
L | Electronic platform scales 5000g x 1g | 780523 | 1 | 5 | 11.98 | 59.9
L | Stopwatch - Satz school event timer (no alarms or beeper) | 0371 | 1 | 30 | 4.28 | 128.4
L | Digital stopclock | 98372 | 10 | 2 | 89 | 178
L | Ticker timer (6V) set includes tape & carbon refill | 0396 | 1 | 1 | 21.73 | 21.73
L | G by Free Fall | 0946 | 1 | 1 | 30.48 | 30.48
P/L | Digital micrometer | 0359 | 1 | 1 | 58.98 | 58.98
L | Lab timer + 1 pair of timing gates | 0945 | 1 | 1 | 90.31 | 90.31
L | Metre rules | 0896 | 1 | 30 | 2.17 | 65.1
L | Rulers - clear plastic 30cm | 2195 | 10 | 5 | 2.98 | 14.9
L | Half metre rules | 9367 | 10 | 3 | 18 | 54
P/L | Vernier caliper | 0381 | 1 | 1 | 6.78 | 6.78
L | Thermometers -10 to 110C - red spirit - 15cm | 9518 | 10 | 3 | 12 | 36
L | Thermometers -10 to 110C - red spirit - 30cm | 9253 | 10 | 3 | 12.5 | 37.5
P | Pocket pH meter | 0630 | 1 | 1 | 66.53 | 66.53
P | Energy/Joulemeter - SEP | 2411 | 1 | 1 | 73.31 | 73.31
L | Ammeter - digital | 1020 | 1 | 15 | 19.78 | 296.7
L | Ammeter - analogue 0-2A | 1389 | 1 | 2 | 5.13 | 10.26
L | Voltmeter - digital | 1021 | 1 | 15 | 19.78 | 296.7
L | Voltmeter - analogue 0-6V | 1358 | 1 | 2 | 5.85 | 11.7
P | Multimeter - digital | 2226 | 1 | 2 | 25.58 | 51.16
L | Lab coats - small | 1940 | 1 | 30 | 14.38 | 431.4
P | Lab coats - medium | 1941 | 1 | 6 | 14.38 | 86.28
L | Polythene gloves | 91137 | 200 | 4 | 1.35 | 5.4
P | Vinyl safety gloves - clear, powder free | 91339 | 200 | 2 | 11.5 | 23
L | Safety screen | 0453 | 1 | 1 | 59.98 | 59.98
P | Safety goggles | 0432 | 1 | 6 | 1.75 | 10.5
L | Safety glasses | 9438 | 10 | 3 | 14.5 | 43.5
L | Safety glasses holder | 2536 | 1 | 2 | 14.98 | 29.96
P | Face shield complete | 1895 | 1 | 1 | 9.78 | 9.78
P | Spill kit | 1378 | 1 | 1 | 43.31 | 43.31
P | Safety labels-explosive | 1999 | 100 | 1 | 4.98 | 4.98
P | Safety labels-flammable | 2000 | 100 | 1 | 4.98 | 4.98
P | Safety labels-oxidiser | 2001 | 100 | 1 | 4.98 | 4.98
P | Safety labels-corrosive | 2003 | 100 | 1 | 4.98 | 4.98
P | Safety labels-toxic | 2004 | 100 | 1 | 4.98 | 4.98
P | Safety labels-irritant | 2005 | 100 | 1 | 4.98 | 4.98
P | Safety labels-health | 2006 | 100 | 1 | 4.98 | 4.98
P | Safety labels-environment | 2007 | 100 | 1 | 4.98 | 4.98
L | Bench lamps - without bulbs | 3034 | 1 | 5 | 10.35 | 51.75
P | Matches pack of 10 boxes | 95360 | 10 packs | 1 | 10.5 | 10.5
P | Gas lighter | 1410 | 1 | 1 | 7.48 | 7.48
L | Bench mats (230 x 230mm) | 0899 | 10 | 3 | 8.25 | 24.75
P | Wood splints | 0031 | 1000 | 2 | 4.68 | 9.36
L | Spirit burners 25ml | 93186 | 10 | 2 | 17 | 34
L | Bunsen burner - natural gas 145 mm ht | 0826 | 1 | 30 | 4.98 | 149.4
L | Burner - refillable gas Rekrow safety type approved by CLEAPSS. Suitable for rooms with no mains gas | 93306 | 5 | 4 | 195 | 780
L | Night light stands | 1816 | 1 | 30 | 1.15 | 34.5
L | Spirit burner tripod inc gauze | 91899 | 4 | 5 | 13 | 65
L | Spirit burner | 0279 | 1 | 20 | 4.23 | 84.6
L | Spare wicks for above | 0623 | 10 | 2 | 4.38 | 8.76
L | Bunsen tubing nitrile with reinforced ends 450mm | 9543 | 10 | 3 | 42 | 126
L | Clay pipe triangles 50mm | 0262 | 10 | 3 | 2.71 | 8.13
L | Gauze - 16 cm wire with ceramic centre - asbestos free certified | 1518 | 1 | 30 | 0.65 | 19.5
P | Hoffman clips | 0265 | 1 | 10 | 1.81 | 18.1
L | Tripods - 12 x 20.5cm | 0287 | 1 | 30 | 2.68 | 80.4
L | Visking tubing - Size 2 - 14mm | 1877 | 30m | 1 | 52.98 | 52.98
P | Visking tubing clips | 1878 | 10 | 2 | 27.18 | 54.36
P | T connectors | 0010 | 1 | 10 | 0.18 | 1.8
L | Calculator - student | 91893 | 10 | 3 | 15.5 | 46.5
L | Retort base (15 x 10cm) including rod (49cm) | 9274 | 2 | 15 | 14 | 210
L | Retort clamp | 0258 | 1 | 30 | 2.38 | 71.4
L | Boss head | 9257 | 10 | 3 | 14.9 | 44.7
L | G clamp (75mm) | 1254 | 1 | 5 | 4.48 | 22.4
P/L | First aid kit | 1346 | 1 | 2 | 8.05 | 16.1
P/L | Eye wash kits | 1370 | 1 | 2 | 13.18 | 26.36
P | Sharps bin - large | 2345 | 6 | 1 | 55.73 | 55.73
P | Draining rack | 0774 | 1 | 1 | 40.55 | 40.55
P | Lab jack | 0451 | 1 | 1 | 37.98 | 37.98
P | Flammables/Solvents storage cupboard | 2036 | 1 | 1 | 327.48 | 327.48
P/L | Fire blanket | 1371 | 1 | 2 | 16.78 | 33.56
P | Blow torch | 7961 | 1 | 1 | 12.98 | 12.98
L | Burette | 0166 | 1 | 4 | 8.78 | 35.12
P | Burette brush | 1284 | 1 | 2 | 0.78 | 1.56
L | Burette clamp | 9164 | 4 | 4 | 14 | 56
P | Test tube brushes | 0006 | 10 | 1 | 3.21 | 3.21
L | Test tube holders | 0281 | 1 | 40 | 0.41 | 16.4
L | Test tube rack | 1027 | 1 | 30 | 2.58 | 77.4
P | U tubes with side arm | 9025 | 2 | 2 | 10 | 20
P | Glass cutter | 1384 | 1 | 1 | 11.85 | 11.85
P | Glass tube - 8mm - pk of 30 x 500mm | 8251 | 30 | 1 | 19.93 | 19.93
P | Glass tube - 5mm - pk of 30 x 500mm | 8248 | 30 | 1 | 18.87 | 18.87
P | Silicone tubing 15m x 5mm | 1537 | 15m | 1 | 38.73 | 38.73
P | Silicone tubing 15m x 8mm | 1539 | 15m | 1 | 79.65 | 79.65
P | Rubber tube 10m x 8mm | 0291 | 10m | 1 | 11.98 | 11.98
P | Rubber tube 10m x 10mm | 1282 | 10m | 1 | 19.68 | 19.68
P | Filter pump | 1196 | 1 | 2 | 30.83 | 61.66
P | Combustion tube 20mm x 30cm | 0174 | 1 | 2 | 3.25 | 6.5
P | Delivery tube set | 0190 | set of 4 | 5 | 6.18 | 30.9
L | Watch glass 75mm | 0247 | 1 | 50 | 0.32 | 16
L | Watch glass 100mm | 0862 | 1 | 50 | 0.45 | 22.5
L | Demo jointed glassware distillation set (BU27) | 0587 | 1 | 1 | 67.57 | 67.57
L | Dropping funnel | 1242 | 1 | 1 | 24.55 | 24.55
P | Dropping bottles - 60ml | 8922 | 6 | 10 | 14.73 | 147.3
P | Dropping bottles - amber 50ml | 0883 | 1 | 20 | 2.53 | 50.6
L/P | Aspirator - 10l | 0161 | 1 | 3 | 23.03 | 69.09
L | Wash bottles - 250ml | 9162 | 10 | 3 | 9 | 27
P | Clear plastic cups | 7284 | 100 | 2 | 2.55 | 5.1
P | Polystyrene cups | 7285 | 50 | 2 | 1.74 | 3.48
P | Powder bottles - 30ml | 8098 | 1 | 30 | 0.45 | 13.5
P | Powder bottles - 125ml | 8100 | 1 | 30 | 0.59 | 17.7
L | Reagent bottles - 250ml | 80088 | 6 | 9 | 13.98 | 125.82
L | Reagent bottles amber - 250ml | 9517 | 10 | 2 | 25 | 50
L | Crucible + lid 25ml | 9177 | 1 | 5 | 7.2 | 36
L | Crucible tongs | 9184 | 4 | 4 | 2.8 | 11.2
L | Pestle & mortar | 98272 | 10 | 2 | 28 | 56
L | Evaporating basins - 75ml | 9103 | 10 | 5 | 9 | 45
L | Crystallising dishes - 90ml | 2996 | 1 | 10 | 2.63 | 26.3
L | Beakers - 50ml Academy | 8060 | 1 | 30 | 0.5 | 15
L | Beakers - 100ml Academy | 8061 | 1 | 30 | 0.5 | 15
L | Beakers - 250ml Academy | 8063 | 1 | 50 | 0.6 | 30
L | Beakers - 400ml Academy | 8065 | 1 | 20 | 0.89 | 17.8
P | Beakers - 1000ml Academy | 8067 | 1 | 5 | 1.77 | 8.85
P | Beakers - 2000ml Academy | 8068 | 1 | 2 | 4.81 | 9.62
P | Gallipot 60ml | 1593 | 200 | 1 | 15.98 | 15.98
L | Beaker - 100ml plastic | 0107 | 1 | 30 | 0.33 | 9.9
L | Beaker - 250ml plastic | 0108 | 1 | 30 | 0.4 | 12
L | Ignition tubes 12 x 75mm Kimble | 0238 | 100 | 1 | 19.53 | 19.53
L | Test tubes 16 x 100mm Kimble | 8001 | 100 | 3 | 27.61 | 82.83
L | Boiling tubes 24 x 150mm Kimble | 8255 | 50 | 5 | 24.87 | 124.35
L | Conical flask - 100ml Labglass | 92646 | 12 | 3 | 13.8 | 41.4
L | Conical flask - 250ml Labglass | 92647 | 12 | 3 | 13.4 | 40.2
P | Spatula - trulla | 9028 | 10 | 1 | 11 | 11
L | Spatula - nuffield - 14cm | 91201 | 10 | 5 | 5.3 | 26.5
L | Stirring rods - polypropylene 7 x 200mm | 9239 | 12 | 5 | 5.7 | 28.5
P | Measuring cylinders - 10ml Academy | 8075 | 1 | 10 | 1.07 | 10.7
L | Measuring cylinders - 50ml Academy | 8077 | 1 | 20 | 1.34 | 26.8
L | Measuring cylinders - 100ml Academy | 8078 | 1 | 20 | 1.71 | 34.2
L | Measuring cylinders - 250ml Academy | 8079 | 1 | 20 | 2.89 | 57.8
P | Measuring cylinders - 500ml Academy | 8080 | 1 | 2 | 4.86 | 9.72
P | Measuring cylinders - 1000ml Academy | 8085 | 1 | 2 | 6.94 | 13.88
P | Measuring cylinders plastic - 10ml | 0213 | 1 | 10 | 0.27 | 2.7
L | Measuring cylinders plastic - 50ml | 0215 | 1 | 10 | 0.44 | 4.4
L | Measuring cylinders plastic - 100ml | 0216 | 1 | 20 | 0.47 | 9.4
L | Measuring cylinders plastic - 250ml | 0217 | 1 | 20 | 1.03 | 20.6
P | Measuring cylinders plastic - 500ml | 0218 | 1 | 2 | 1.7 | 3.4
P | Measuring cylinders plastic - 1000ml | 0219 | 1 | 2 | 3.56 | 7.12
L | Gas syringe 100ml | 8091 | 1 | 5 | 17.75 | 88.75
L | Trough glass - 125 x 300mm | 0680 | 1 | 1 | 48.58 | 48.58
L | Beehive shelf | 1251 | 1 | 2 | 2.08 | 4.16
L | Gas jars + lids 20 x 5cm Labglass | 93177 | 5 | 1 | 32 | 32
L | Bell jar 200 x 300 | 1178 | 1 | 1 | 75.58 | 75.58
P | Petri dishes 90 x 15mm | 80557 | 600 | 1 | 43.38 | 43.38
L | Spotting tiles | 1286 | 10 | 3 | 10.98 | 32.94
L | White tiles | 2209 | 10 | 2 | 4.73 | 9.46
L | Filter funnels - 75mm plastic | 9199 | 10 | 2 | 2.5 | 5
L | Filter funnels - 150mm plastic | 9201 | 5 | 3 | 10 | 30
L | Filter funnels glass - 5.5cm | 0878 | 1 | 15 | 1.23 | 18.45
L | Filter funnels glass - 7.5cm | 0683 | 1 | 15 | 1.48 | 22.2
P | Cotton wool - 500g | 9013 | 2 x 500g | 1 | 9 | 9
P | Test strips - Cobalt Chloride Johnson | 3023 | 200 | 5 | 3.01 | 15.05
P | Red litmus - 200 leaves | 9021 | 2 x 200 | 5 | 3.8 | 19
P | Blue litmus - 200 leaves | 9022 | 2 x 200 | 5 | 2.7 | 13.5
P | pH 1-14 test paper + colour charts Johnson | 2089 | 200 | 5 | 2.91 | 14.55
P | Student filter paper 12.5mm x 100 | 9016 | 2 | 10 | 4.5 | 45
P | Quality filter paper 12.5mm x 100 | 8016 | 1 | 2 | 3.38 | 6.76
L | Chromatography paper 50mm x 100m | 1043 | 100m | 1 | 62.21 | 62.21
P | Side arm flask - 250ml Academy | 8094 | 1 | 3 | 5.28 | 15.84
P | Volumetric flasks class A - 10ml Labglass | 3224 | 1 | 2 | 1.88 | 3.76
P | Volumetric flasks class A - 25ml Labglass | 3225 | 1 | 2 | 1.91 | 3.82
P | Volumetric flasks class A - 100ml Labglass | 3227 | 1 | 2 | 2.45 | 4.9
P | Volumetric flasks class A - 250ml Labglass | 3228 | 1 | 2 | 3.78 | 7.56
P | Volumetric flasks class A - 1000ml Labglass | 3230 | 1 | 2 | 6.73 | 13.46
P | Volumetric flasks class A - 2000ml Labglass | 3231 | 1 | 2 | 12.13 | 24.26
P | Cork borers set of 12 | 1276 | set of 12 | 1 | 34.08 | 34.08
P | Cork borer sharpener | 0907 | 1 | 1 | 11.08 | 11.08
P | Rubber stoppers - solid - 13mm | 1186 | 10 | 4 | 0.74 | 2.96
P | Rubber stoppers - solid - 19mm | 1156 | 10 | 2 | 1.47 | 2.94
P | Rubber stoppers - solid - 21mm | 1188 | 10 | 4 | 2.58 | 10.32
P | Rubber stoppers - solid - 25mm | 1157 | 10 | 2 | 3.23 | 6.46
P | Rubber stoppers - solid - 29mm | 1158 | 10 | 2 | 4.58 | 9.16
P | Rubber stoppers - solid - 31mm | 1159 | 10 | 2 | 6.48 | 12.96
P | Rubber stoppers - solid - 33mm | 1165 | 10 | 2 | 8.63 | 17.26
P | Pipettes - disposable 3ml | 1225 | 500 | 2 | 6.98 | 13.96
P | Pipette fillers - 25ml | 0235 | 1 | 2 | 3.48 | 6.96
P | Pipette - 10ml | 9232 | 10 | 1 | 12 | 12
P | Pipette - 25ml bulb | 0867 | 1 | 4 | 1.48 | 5.92
P | Heater / stirrer | 2437 | 1 | 1 | 194.98 | 194.98
P | Magnetic stirrer bar | 1333 | 1 | 2 | 1.48 | 2.96
P | Stirring bar retriever | 2991 | 1 | 1 | 11.15 | 11.15
P | Water still - Merit. Should be professionally connected to water and power | 0984 | 1 | 1 | 898.93 | 898.93
P | Wire extra flexible PVC multi core - black - other colours on request | 1904 | 25m | 2 | 5.05 | 10.1
L | Oscilloscope single channel | 1900 | 1 | 1 | 258.33 | 258.33
L | Hand powered generator set of 2 | 1902 | 2 | 1 | 31.48 | 31.48
L | Carbon rods | 0009 | 10 | 5 | 2.28 | 11.4
L | Hoffman voltameter | 1293 | 1 | 1 | 47.78 | 47.78
L | Molymod set - Inorganic/Organic teachers set | 0847 | 1 | 1 | 27.18 | 27.18
L | Molymod set - Inorganic/Organic student set | 0848 | 1 | 12 | 13.53 | 162.36
L | Periodic wall chart | 1989 | 1 | 1 | 34.98 | 34.98
L | Human torso - full size | 2886 | 1 | 1 | 186.83 | 186.83
L | Human skeleton - full size | 0418 | 1 | 1 | 247.51 | 247.51
L | Human ear | 0709 | 1 | 1 | 52.55 | 52.55
L | Human eye | 0710 | 1 | 1 | 25.48 | 25.48
L | Digestive system model | 2893 | 1 | 1 | 97.98 | 97.98
L | Model skin | 0711 | 1 | 1 | 25.21 | 25.21
L | Lung demo model | 0812 | 1 | 1 | 29.83 | 29.83
L | Lung volume kit | 0001 | set | 5 | 28.23 | 141.15
L | Animal cell model | 1025 | 1 | 1 | 49.98 | 49.98
L | Plant cell model | 1024 | 1 | 1 | 40.41 | 40.41
P | Dissecting scissors - 110mm | 0040 | 1 | 20 | 1.38 | 27.6
P | Forceps - nylon | 1380 | 20 | 2 | 5.65 | 11.3
P | Scapel blades | 0050 | 100 | 2 | 8.91 | 17.82
P | Scapel handles No 3 | 9053 | 10 | 2 | 16 | 32
L | Microscope | 1861 | 1 | 15 | 88.63 | 1329.45
L | Slide Set Human Histology - 25 Slides | 80561 | set | 2 | 16.45 | 32.9
L | Cavity slides pk of 50 | 8108 | 50 | 2 | 0.4 | 0.8
L | Cover slips pk of 100 | 9402 | 10 packs | 1 | 9.25 | 9.25
L | Plain slides pk of 50 | 99413 | 10 packs | 1 | 18 | 18
L | USB digital microscope | 0550 | 1 | 1 | 59.98 | 59.98
L | Hand magnifiers | 2244 | 10 | 3 | 8.28 | 24.84
P | Trundle wheel with counter | 2248 | 1 | 5 | 22.25 | 111.25
L | Tellurium 2 | 1045 | 1 | 1 | 258.81 | 258.81
L | Quadrats | 91347 | 10 | 1 | 103 | 103
L | Solar cell kit | 0093 | set | 5 | 10.25 | 51.25
L | UV detecting beads | 2416 | 50 | 10 | 3.73 | 37.3
L | Prism acrylic 60 x 60 x 60 | 0318 | 1 | 2 | 3.18 | 6.36
L | Acrylic block 100 x 60 x 18 | 9134 | 10 | 2 | 28 | 56
L | Acrylic block semi circular 100 x 18 | 9139 | 10 | 2 | 30 | 60
L | Acrylic block set of 7 | 2187 | set of 7 | 1 | 19.75 | 19.75
L | Plane mirror 100 x 75 | 0314 | 10 | 4 | 3.08 | 12.32
L | Ray box - inc set of filters, spare bulb, lens, two and three slit mask | 9527 | 6 | 3 | 93 | 279
L | Spectroscope | 2435 | 1 | 1 | 4.48 | 4.48
L | Newtons colour disc | 0312 | 1 | 1 | 23.33 | 23.33
L | Colour mixing swatch set | 2191 | set | 10 | 7.71 | 77.1
L | Polaroid film - mounted | 80079 | 2 | 1 | 12.73 | 12.73
L | Thermal conductivity rods set of 6 metals | 0251 | pk of 6 | 15 | 5.58 | 83.7
L | Bi-metallic strip | 8276 | 1 | 1 | 4.28 | 4.28
L | Bar & gauge app | 0860 | 1 | 1 | 6.53 | 6.53
L | Ring & ball app | 1629 | 1 | 1 | 5.98 | 5.98
L | Thermochromic sheet | 2196 | sheet | 1 | 31.73 | 31.73
L | Friction rods - Ebonite | 9075 | 2 | 8 | 3.4 | 27.2
L | Friction rods - Glass | 91450 | 2 | 8 | 2.1 | 16.8
L | Friction cloth - Silk | 1523 | 1 | 2 | 3.05 | 6.1
L | Leslie cube | 0903 | 1 | 1 | 7.93 | 7.93
L | Crookes radiometer | 0461 | 1 | 1 | 7.21 | 7.21
L | Ripple tank advanced | 2012 | 1 | 1 | 197.93 | 197.93
L | Kinetic theory model | 0353 | 1 | 1 | 73.48 | 73.48
L | Slinky spring | 9330 | 2 | 1 | 4.6 | 4.6
L | Tuning forks | 1520 | set of 8 | 1 | 14.37 | 14.37
L | Loundspeaker | 1818 | 1 | 1 | 23.88 | 23.88
L | Magdeburg hemispheres pair | 1081 | pair | 2 | 17.78 | 35.56
L | Newtons cradle | 0386 | 1 | 1 | 10.91 | 10.91
L | Newton meter 2.5N | 0360 | 1 | 20 | 1.48 | 29.6
L | Newton meter 10N | 0362 | 1 | 20 | 1.48 | 29.6
L | G ball | 2179 | 1 | 1 | 26.23 | 26.23
L | Push - pull spring balance | 0375 | 1 | 15 | 3.21 | 48.15
L | Springs | 1127 | 10 | 5 | 6.51 | 32.55
L | Slotted masses 100g (hanger + 9 masses) | 9356 | 5 | 3 | 35 | 105
L | Pendulum bobs 19mm | 0387 | 1 | 20 | 1.88 | 37.6
L | Pendulum bobs 13mm | 1386 | 1 | 15 | 1.08 | 16.2
L | Pendulum bobs 25mm | 0388 | 1 | 15 | 2.23 | 33.45
L | Metal cubes for density - set of 7 metals | 0842 | set | 16 | 14.61 | 233.76
L | Materials kit | 1014 | 1 | 8 | 66.31 | 530.48
L | Dynamo demo unit | 0133 | 1 | 1 | 26.98 | 26.98
L | Motor AD/DC demo unit | 0065 | 1 | 1 | 27.68 | 27.68
L | Demo DC motor | 0419 | 1 | 1 | 16.08 | 16.08
L | Motor kit | 2408 | 1 | 10 | 25.01 | 250.1
L | Water turbine with dynamo demo unit | 1420 | 1 | 1 | 74.98 | 74.98
L | Pulley - single | 2192 | 1 | 4 | 2.38 | 9.52
L | Pulley - double | 2193 | 1 | 2 | 3.28 | 6.56
L | Pulley - triple | 2194 | 1 | 2 | 4.03 | 8.06
L | Ohm Meter shunt type | 92919 | 2 | 6 | 39.9 | 239.4
L | 4 way extension lead | 44984 | 1 | 5 | 23.98 | 119.9
L | Capillary tubing | 8437 | 10 | 1 | 11.98 | 11.98
L | 13A plugs | 2082 | 1 | 20 | 0.97 | 19.4
L | Power supply - simple - 3A 3-12V | 3201 | 1 | 16 | 43.33 | 693.28
P | Power supply 8A - 0-20V smoothed and continuosly variable - Irwin V8 | 1554 | 1 | 1 | 184.98 | 184.98
L | Worcester circuit boards | 0840 | 1 | 16 | 48.93 | 782.88
L | Electricity kits - basic components - can be used instead of circuit boards | 9464 | 2 | 8 | 55 | 440
L | Electric bell | 1471 | 1 | 2 | 7.48 | 14.96
L | BrightSparks - Electricity kit | 2346 | 1 set | 1 | 161.37 | 161.37
P | Crocodille clips | 0064 | 10 | 10 | 1.28 | 12.8
P | Connecting leads 4mm 300mm long Red | 1166 | 1 | 50 | 0.89 | 44.5
P | Connecting leads 4mm 300mm long Black | 1167 | 1 | 50 | 0.89 | 44.5
P | Copper wire 32SWG | 1221 | 1 | 1 | 7.23 | 7.23
P | Copper wire 26SWG | 1218 | 1 | 1 | 7.93 | 7.93
P | Copper wire 20SWG | 1215 | 1 | 1 | 7.81 | 7.81
P | Nichrome wire 32SWG | 1228 | 1 | 1 | 11.51 | 11.51
P | Nichrome wire 26SWG | 1249 | 1 | 1 | 11.51 | 11.51
P | Nichrome wire 20SWG | 1222 | 1 | 1 | 11.51 | 11.51
P | Eureka wire 3SWG | 1262 | 1 | 1 | 13.48 | 13.48
P | Eureka wire 26SWG | 1259 | 1 | 1 | 13.48 | 13.48
P | Eureka Wire 20SWG | 1256 | 1 | 1 | 13.48 | 13.48
L | Van de Graaf generator + FREE accessories | 2347 | 1 | 1 | 382.98 | 382.98
L | Spare belt for above | 2364 | 1 | 1 | 14.98 | 14.98
L | Electroscope | 9463 | 2 | 1 | 26 | 26
P | Gold leaf for above | 0983 | 6 | 1 | 10.88 | 10.88
L | Respirometer simple | 2764 | 1 | 12 | 21.48 | 257.76
P | Conductive paper | 1516 | 10 | 1 | 19.03 | 19.03
L | Bell in a bell jar apparatus | 1382 | 1 | 1 | 68.48 | 68.48
P | Pump for above - electric | 0951 | 1 | 1 | 397.11 | 397.11
P | Bottle rocket launcher | 0384 | 1 | 2 | 9.98 | 19.96
P | Busting bottles for freezer | 0526 | 1 | 5 | 6.83 | 34.15
L | Displacement vessels | 1415 | 1 | 15 | 5.37 | 80.55
P | Crushing cans | 1280 | 1 | 10 | 2.98 | 29.8
L | Expansion of liquids app | 1103 | set | 1 | 26.28 | 26.28
L | Plotting compass | 9338 | 10 | 5 | 2.98 | 14.9
L | Metal discs | 1625 | set of 8 | 4 | 5.25 | 21
L | Ceramic magnets | 2292 | 20 | 1 | 16.78 | 16.78
L | Horseshoe magnet - ALNICO | 1896 | 1 | 1 | 4.57 | 4.57
L | Iron filings in sprinkler pepper pot | 5600 | 1 | 20 | 1.85 | 37
L | Demo magnetic field tube | 1971 | 1 | 1 | 14.53 | 14.53
P | Magnetism study set | 91015 | 2 sets | 1 | 22 | 22
P | Metal testing strips set of 12 | 9474 | pack of 2 | 2 | 13 | 26
P | Magnetic field demo unit | 1002 | 1 | 1 | 23.88 | 23.88
L | Bar magnets - ALNICO (Pair) | 0336 | pair | 10 | 7.43 | 74.3
P | Electro magnet | 0071 | 1 | 1 | 7.15 | 7.15
P | Peak flow meter | 1408 | 1 | 2 | 13.71 | 27.42
P | Mouth pieces for peak flow meters | 1409 | 15 | 2 | 11.93 | 23.86
L | UV light | 2182 | 1 | 1 | 18.05 | 18.05
P | Autoclave - 9l | 1848 | 1 | 1 | 823.51 | 823.51
P | Autoclave bags - 413mm x 632mm | 1531 | 200 | 2 | 29.98 | 59.96
L | Innoculation loops | 1175 | 1000 | 1 | 27.98 | 27.98
P | Cotton string | 1897 | 1 | 1 | 1.18 | 1.18
P | Autoclave bags | 1531 | 50m reel | 2 | 29.98 | 59.96
P/L | Lab trolley | 991372 | 2 | 1 | 418 | 418
| SUB TOTAL |  |  |  | 0 | 21426.37
Data Logging - Data Harvest
L | Data Logger V-Log4 including free charging tray and power supply | 2691 | 5 | 2 | 1025 | 2050
L | Temperature sensors | 2512 | 1 | 20 | 42 | 840
L | Light level | 2494 | 1 | 10 | 69 | 690
L | Sound level | 2507 | 1 | 10 | 72 | 720
L | Light gates | 2492 | 1 | 20 | 55 | 1100
L | pH pack (adaptor and probe) | 2499 | 1 | 10 | 105 | 1050
REF. DATALOGGING. PLEASE NOTE/SEE CATALOGUE FOR FULL DETAILS - CALL US BEFORE YOU MAKE YOUR FINAL CHOICE BECAUSE WE WILL HELP YOU PUT TOGETHER A BESPOKE LIST FOR YOUR NEEDS
| SUB TOTAL |  |  |  | 0 | 6450
| CHEMICALS |  |  |  | 0
| Description | Product Number | Pack Size | Quantity |  | Total Price
P | Ethanoic/Glacial/Acetic acid | 5150 | 500 ml | 1 | 5.68 | 5.68
P | Hydrochloric acid concentrated | 5159 | 1 L | 10 | 5.25 | 52.5
P | Nitric acid concentrated | 5211 | 1 L | 10 | 8.48 | 84.8
P | Sulphuric acid concentrated | 5282 | 1 L | 10 | 6.48 | 64.8
P | Magnesium ribbon | 9023 | 10 | 1 | 25.9 | 25.9
P | Magnesium turnings | 5196 | 100 g | 5 | 5.08 | 25.4
P | Mineral wool | 5206 | 500 g | 2 | 5.61 | 11.22
P | Litmus solution | 5184 | 500 ml | 1 | 5.08 | 5.08
P | Universal indicator soln | 5552 | 2.5 L | 1 | 22.78 | 22.78
P | UI colour chart pk of 10 | 5490 | for above | 1 | 4.48 | 4.48
P | Copper (II) carbonate | 5139 | 500 g | 1 | 9.48 | 9.48
P | Citric acid | 5131 | 500 g | 6 | 4.35 | 26.1
P | Copper (II) oxide | 5141 | 500 g | 1 | 13.87 | 13.87
P | Copper (II) sulphate | 5136 | 500 g | 2 | 5.38 | 10.76
P | Copper turnings | 5135 | 500 g | 1 | 13.58 | 13.58
P | Fluorescein | 5596 | 5 g | 1 | 2.71 | 2.71
P | Hexane-1,6-diamine | 5155 | 25 g | 2 | 5.13 | 10.26
P | Iodine | 5166 | 500 g | 1 | 68.98 | 68.98
P | Steel wool | 95173 | 2 x 450 g | 1 | 13.5 | 13.5
P | Iron filings coarse | 5319 | 500 g | 1 | 9.25 | 9.25
P | Magnesium hydroxide | 5191 | 100 g | 3 | 6.73 | 20.19
P | Magnesium turnings | 5323 | 250 g | 1 | 10.78 | 10.78
P | Salol/Phenyl salicylate/phenyl-2-hydroxybenzoate | 5225 | 250 g | 1 | 14.18 | 14.18
P | Potassium chlorate | 5230 | 500 g | 1 | 21.03 | 21.03
P | Sodium carbonate | 5255 | 500 g | 2 | 3.18 | 6.36
P | Sodium chloride | 5259 | 1 kg | 3 | 2.87 | 8.61
P | Lead nitrate | 5561 | 250 g | 1 | 7.17 | 7.17
P | Ethanol rectified | 5312 | 500 ml | 1 | 3.13 | 3.13
P | Lugols Iodine solution | 5186 | 500 ml | 1 | 5.48 | 5.48
P | Potassium permanganate | 5243 | 500 g | 1 | 8.68 | 8.68
P | Sodium hydrogen carbonate | 5261 | 1 kg | 1 | 3.18 | 3.18
P | Sodium hydroxide pellets | 5263 | 500 g | 1 | 5.18 | 5.18
P | Zinc oxide | 5533 | 500 g | 1 | 7.88 | 7.88
P | Glucose anhydrous | 5144 | 1 kg | 1 | 8.93 | 8.93
P | Potassium chloride | 5231 | 250 g | 1 | 4.78 | 4.78
P | Potassium bromide | 5229 | 100 g | 1 | 15.63 | 15.63
P | Potassium iodide | 5238 | 100 g | 1 | 8.78 | 8.78
P | Sulphur resublimed | 5277 | 500 g | 1 | 7.18 | 7.18
P | Ammonia solution | 5109 | 2.5 L | 1 | 10.23 | 10.23
P | Benedict's solution | 5555 | 500 ml | 1 | 3.15 | 3.15
P | Biuret reagent | 5115 | 500 ml | 1 | 3.28 | 3.28
P | Lime water | 5181 | 2.5 L | 1 | 4.48 | 4.48
P | Propanone (acetone) | 5331 | 1 L | 1 | 5.35 | 5.35
P | Chlorine water | 5597 | 500 ml | 1 | 6.08 | 6.08
P | Hexane | 5435 | 500 ml | 1 | 10.43 | 10.43
P | Propan-2-ol | 5329 | 500 ml | 1 | 4.97 | 4.97
P | Butan-1-ol | 5575 | 500 ml | 1 | 4.78 | 4.78
P | Methanol | 5347 | 1 L | 1 | 5.28 | 5.28
P | Hydrogen peroxide 20vol | 5316 | 2.5 L | 1 | 16.95 | 16.95
P | Deionised water (lots) | 5385 | 5 L | 5 | 5.68 | 28.4
P | Hydrochloric acid 2.0M | 5158 | 5 L | 1 | 13.78 | 13.78
P | Nitric acid 2.0M | 5570 | 1 L | 1 | 6.23 | 6.23
P | Sodium hydroxide 1.0M | 5262 | 5 L | 1 | 14.98 | 14.98
P | Iron metal filings fine | 5320 | 500 g | 1 | 3.08 | 3.08
P | Industrial denatured alcohol | 95376 | 5 x 1 L | 1 | 30 | 30
P | Methyl orange indicator | 5204 | 500 ml | 2 | 4.35 | 8.7
P | Phenolphtalein indicator | 5327 | 25 g | 1 | 3.91 | 3.91
P | Paraffin liquid light | 5324 | 500 ml | 1 | 6.58 | 6.58
P | Nutrient agar powder - 28g = 178 petri dishes | 5214 | 100 g | 2 | 11.18 | 22.36
P | Starch powder | 5273 | 500 g | 1 | 4.71 | 4.71
| SUB TOTAL |  |  |  |  | 865.99
OTHER
| Description | Product Number | Pack Size | Quantity |  | Total Price
P | Poison storage cupboard | 2237 | 1 | 1 | 219.98 | 219.98
P | Under bench fridge | ON REQUEST
P | Under bench freezer | ON REQUEST
P | Upright fridge / freezer | ON REQUEST
P | Domestic dish washer | 77030 |  | 1 | 298 | 298
P | Fire fighting equipment | Usually provided as part of build / commissioning
P/L | Fume cupboard | 1800 |  | 1 | 4498 | 4498
P/L | Mobile fume cupboard docking station | 3025 |  | 1 | 695 | 695
P/L | Storage tray systems | SEE CATALOGUE FOR FULL RANGE
P/L | Additional storage trays - different depths | SEE CATALOGUE FOR FULL RANGE
| SUB TOTAL |  |  |  |  | 5710.98
| GRAND TOTAL |  |  |  |  | 34453.34